# Soft and hard tissue modifications at immediate transmucosal implants (with Laser-Lok microtextured collar) placed into fresh extraction sites: a 6-month prospective study with surgical reentry.

Iorio-Siciliano V, Marzo G, Blasi A, Cafiero C, Mignogna M, Nicolò M.

### Abstract

Histologic and clinical studies confirm that laser-microtextured implant collars favor the attachment of connective fibers and reduce probing depth and peri-implant bone loss when compared with machined collars. This prospective study aimed at assessing the alveolar dimensional changes after immediate placement of a transmucosal implant with a Laser-Lok microtextured collar associated with bone regenerative procedures. Thirteen implants were placed immediately into single-rooted extraction sockets. Peri-implant defects were treated with bovine-derived xenografts and resorbable collagen membranes. At 6-month surgical reentry, the Laser-Lok microtextured collar provided more favorable conditions for the attachment of hard and soft tissues and reduced the alveolar bone loss.